Automated External Defibrillator

Monthly / Annual Inspection Record

Unit Serial #: ________ ____   Location: ______________________

Monthly Maintenance:      A. Open AED Lid / If no automatic ON turn the AED to ON as required

B.  Wait for the AED to indicate status

C.  Observe expiration date AED Pads; Current Pad Expiration date: __________

D.  Listen for voice prompts

E.  Close the lid and confirm that the status indicator remains “OPERATIONAL”

*Notify Administration if status indicator is “NON-OPERATIONAL”

F.  * Battery Change Due: ___________      Battery Replaced: _____________

*Appropriately dispose of expired AED battery and any other non-alkaline batteries.

G.  Initial Log

|  | AED MONTHLY MAINTENANCE |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| YEAR | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC |
| 2013 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2014 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2015 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2016 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2017 |  |  |  |  |  |  |  |  |  |  |  |  |

Annual Review: 	Signature of  Department Manager or their designee confirms that:			 the daily and monthly AED maintenance has occurred for that year:

| YEAR | DATE | USF AUTHORIZED PERSONNEL/DESIGNEE |
| --- | --- | --- |
| 2013 |  |  |
| 2014 |  |  |
| 2015 |  |  |
| 2016 |  |  |
| 2017 |  |  |